## Slide 1: Taking responsibility for medical AI
Raj Jena
University of Cambridge

## Slide 2: Risks and responsibilities
Information security risk
  ?
Application risk
  ?
  ?
Clinical risk
  ?
  ?

## Slide 3: Risks and responsibilities
Information security risk
  IG Lead for hospital
Application risk
  Categorisation of device and risk class defined by regulatory authority
  Risk mitigation and SIU - Legal manufacturer of a medical device
Clinical risk
  Clinical protocol
  Lead clinician in charge of evaluation / deployment

## Slide 4: Technical file
Document submitted to regulatory body
Statement of intended use
Risk register
Mitigations

## Slide 5: Mitigations – can you think of examples?
Risks removed by design of the system
Risks removed by warnings issued to end user
Residual risks – deal with through training & education

## Slide 6: Model training description
What are you looking for in model training?

## Slide 7: Model training description
How much data was used to train model?
Where did it come from and is it representative of your patient cohort
Cross-validation / hold-out data

## Slide 8: Assessing AI performance
AUROC curve
Q – how is this helpful?
ROC Curve and AUC: Evaluating Model Performance | by İlyurek Kılıç | Medium

## Slide 9: Assessing AI performance
AUROC curve
Good for comparing models
Broad picture of utility
Beefburger test 
ROC Curve and AUC: Evaluating Model Performance | by İlyurek Kılıç | Medium

## Slide 10: Assessing AI performance
Confusion matrix
What can you learn from this?
Confusion Matrix: How To Use It & Interpret Results [Examples] (v7labs.com)

## Slide 11: Assessing AI performance
Confusion matrix
Class performance
Regular patterns in misclassification
Specificity
Class imbalance / Event rate
Confusion Matrix: How To Use It & Interpret Results [Examples] (v7labs.com)

## Slide 12: Assessing AI performance
Outlier Case review / drill down
How does this help assess risk?

## Slide 13: Assessing AI performance
Outlier Case review / drill down
Edge cases
Understand poor performance in clinical context

## Slide 14: Assessing AI performance
Outlier Case review / drill down
Edge cases
Understand poor performance in context
Super-helpful if you can see training data
May not be possible for complex high-dimensional datasets